## Sheet1
G01 | 53.1874 |  | G01,53.1874040778488 | *G1 = WtE CHP
G02 | 2.2455 |  | G02,2.24553201817567 | *G2 = WtE HOB
G03 | 240.6091 |  | G03,240.609077823577 | *G3 = Biomass CHP (wood chips)
G04 | 160.3079 |  | G04,160.307921896131 | *G4 = Biomass HOB (wood chips)
G05 | 0 |  | G05,0 | *G5 = pulverized coal fired, supercritical steam process
G06 | 17.4173 |  | G06,17.417265586447 | *G6 = gas turbine single - cycle
G07 | 17.4173 |  | G07,17.417265586447 | *G7 = gas turbine combined cycle
G08 | 161.4836 |  | G08,161.48357915328 | *G8 = district heaitng boiler, gas fired
G09 | 128.6563 |  | G09,128.656320855123 | *G9 = heat Pump (10 MW airsource heat pump)
G10 | 0 |  | G10,0 | G10 =electric boiler
G11 | 122.6783 |  | G11,122.67831032852 | *G11 = Biomass CHP (straw)
G12 | 95.9973 |  | G12,95.9973226744518 | *G12 = Biomass HOB (straw)
[6 empty] | Wood chips | Straw
[5 empty] | Price | 6.9582 | 5.9562
[5 empty] | CO2 | 0 | 0
Plant type | Capacity | Unit |  |  | Energy Content | 0.00225 | 0.0041667
WtE CHP | 53.1874 | Mw
wTe hop | 2.2455 | Mw
Biomass CHP (straw) | 122.6783 | Mw |  |  | 0.00027778
BiomassHOP (straw) | 95.9973 | Mw
Biomass CHP (wood chips) | 240.6091 | Mw
BiomassHOP (wood chips) | 160.3079 | Mw
Coal CHP | 0 | Mw
Gas single CHP | 17.4173 | Mw
Gas combined CHP | 17.4173 | Mw
District heating boiler | 161.4836 | Mw
Industrial Heat Pump | 128.6563 | Mw
Electric boiler | 0 | Mw
[5 empty] | Coal | Kul | 2020DKK/GJ | 18.2336
[5 empty] | Fuel oil | Fuelolie | 2020DKK/GJ | 61.3147
[5 empty] | Light oil | Letolie | 2020DKK/GJ | 95.565
[5 empty] | Natural gas | Naturgas | 2020DKK/GJ | 43.001
[5 empty] | Straw | Halm | 2020DKK/GJ | 44.3736
[5 empty] | Wood chips | Træflis | 2020DKK/GJ | 51.8383
[5 empty] | Wood pellets | Træpiller | 2020DKK/GJ | 69.9936
[5 empty] | Biogas (upgraded), production price | Biogas (opgraderet), produktionspris | 2020DKK/GJ | 166.5327
[5 empty] | Bio oil | Bioolie | 2020DKK/GJ | 162.3
[5 empty] | Hydrogen | Brint | 2020DKK/GJ | 280
[5 empty] | Biomass waste | Biomasseaffald | 2020DKK/GJ | 25
[5 empty] | Local waste | Lokalt affald | 2020DKK/GJ | -42.4528
[5 empty] | Waste from the rest of Denmark | Affald fra øvrige Danmark | 2020DKK/GJ | -42.4528
[5 empty] | Import waste | Importaffald | 2020DKK/GJ | -37.5